Employer’s Written Procedure 10

Level 2 document 10.03

Diagnostic Reference Levels

Diagnostic Reference Levels for Mammography

These DRLs have been approved by the Scottish Mammography Physics Group (SMPG) and the Scottish Radiation Protection Advisers (SRPA) group.

These apply to both mediolateral oblique and craniocaudal views.

| Table 1 FFDM 2D DRLs for screening & symptomatic mammography |  |  |  |  |
| --- | --- | --- | --- | --- |
| Thickness ranges | 30 - 49 mm | 50 – 60 mm | 61 – 80 mm | 81 –100 mm |
| SDRL (mGy) | 1.3 | 1.8 | 2.6 | 3.6 |

Approved at SRPA on 2/11/2023

| Table 2 FFDM TOMO DRLs for screening mammography |  |  |  |  |
| --- | --- | --- | --- | --- |
| Thickness ranges | 30 - 49 mm | 50 – 60 mm | 61 – 80 mm | 81 –100 mm |
| SDRL (mGy) | Not set | 2.4 | 3.6 | Not set |

Approved at SRPA on 1/05/2025